## raw data
Block Type | 96-Well 0.1-mL Block
Calibration Background is expired | No
Calibration Background performed on | 05-06-2021
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 05-06-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 05-06-2021
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 05-06-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 05-06-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 05-06-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 05-06-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 05-06-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 05-06-2021
Calibration ROI is expired | No
Calibration ROI performed on | 05-06-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 05-06-2021
Chemistry | SYBR_GREEN
Date Created | 2023-04-12 17:05:27 PM EDT
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\INSTR-USER\Desktop\Pricila\Pfizer CD12 titer qPCR 2023-04-12_123601.eds
Experiment Name | 2023-04-12_123601
Experiment Run End Time | 2023-04-12 14:14:49 PM EDT
Experiment Type | Standard Curve
Instrument Name | 272310827
Instrument Serial Number | 272310827
Instrument Type | QuantStudio™ 3 System
Passive Reference | ROX
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
User Name
Well | Well Position | Omit | Sample Name | Target Name | Task | Reporter | Quencher | CT | Ct Mean | Ct SD | Quantity | Quantity Mean | Quantity SD | Y-Intercept | R(superscript 2) | Slope | Efficiency | Automatic Ct Threshold | Ct Threshold | Automatic Baseline | Baseline Start | Baseline End | Amp Status | Comments | Cq Conf | CQCONF | EXPFAIL | HIGHSD | PRFDROP | MTP | PRFLOW | NOISE | DRNMIN | Tm1 | Tm2 | Tm3 | Tm4
1 | A1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 9.2915 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 6 | Amp |  | 0.64328 | Y | N | Y | N | N | N | N | N | 85.6542
2 | A2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 9.4512 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 6 | Amp |  | 0.65937 | Y | N | Y | N | N | N | N | N | 85.6542
3 | A3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 9.2835 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 6 | Amp |  | 0.65542 | Y | N | Y | N | N | N | N | N | 85.6542
4 | A4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.989 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.97621 | N | N | Y | N | N | N | N | N | 85.6542
5 | A5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 29.0235 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.9694 | N | N | Y | N | N | N | N | N | 85.2337
6 | A6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.9742 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.97203 | N | N | Y | N | N | N | N | N | 85.2337
7 | A7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.8692 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.82055 | N | N | Y | N | N | N | N | N | 85.6542
8 | A8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.8811 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.81961 | N | N | Y | N | N | N | N | N | 85.6542
9 | A9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.9681 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.8321 | N | N | Y | N | N | N | N | N | 85.514
10 | A10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.6844 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | Amp |  | 0.9281 | N | N | Y | N | N | N | N | N | 85.514
11 | A11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.6956 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | Amp |  | 0.93202 | N | N | Y | N | N | N | N | N | 85.6542
12 | A12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.8193 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | Amp |  | 0.93667 | N | N | Y | N | N | N | N | N | 85.6542
13 | B1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 11.5376 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 8 | Amp |  | 0.67931 | Y | N | Y | N | N | N | N | N | 85.3739
14 | B2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 11.2236 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 7 | Amp |  | 0.67019 | Y | N | Y | N | N | N | N | N | 85.3739
15 | B3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 11.367 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 8 | Amp |  | 0.6755 | Y | N | Y | N | Y | N | N | N | 85.3739 | 90.9811
16 | B4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.253 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.80592 | N | N | Y | N | N | N | N | N | 85.514
17 | B5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.3331 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.80477 | N | N | Y | N | N | N | N | N | 85.0935
18 | B6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.4233 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.80611 | N | N | Y | N | N | N | N | N | 85.0935
19 | B7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 17.9586 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.79912 | Y | N | Y | N | N | N | N | N | 85.6542
20 | B8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 17.9206 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.78944 | Y | N | Y | N | N | N | N | N | 85.514
21 | B9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.3102 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.80034 | N | N | Y | N | N | N | N | N | 85.3739
22 | B10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.3604 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.8509 | N | N | Y | N | N | N | N | N | 85.3739
23 | B11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.4717 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.84881 | N | N | Y | N | N | N | N | N | 85.6542
24 | B12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.1181 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.89568 | N | N | Y | N | N | N | N | N | 85.6542
25 | C1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 13.6541 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 10 | Amp |  | 0.64031 | Y | N | Y | N | N | N | N | N | 85.6542
26 | C2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 14.7148 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 11 | Amp |  | 0.72534 | Y | N | Y | N | N | N | N | N | 85.2337
27 | C3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 14.6731 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 11 | Amp |  | 0.7304 | Y | N | Y | N | N | N | N | N | 85.3739
28 | C4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.2062 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.79277 | Y | N | Y | N | N | N | N | N | 85.514
29 | C5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.1945 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.78057 | Y | N | Y | N | N | N | N | N | 85.0935
30 | C6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.2302 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.78816 | Y | N | Y | N | N | N | N | N | 85.0935
31 | C7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.3444 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.78738 | Y | N | Y | N | N | N | N | N | 85.514
32 | C8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.2171 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.76832 | Y | N | Y | N | N | N | N | N | 85.514
33 | C9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.4772 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.79317 | Y | N | Y | N | N | N | N | N | 85.3739
34 | C10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.6839 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.87437 | N | N | Y | N | N | N | N | N | 85.3739
35 | C11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.925 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.88258 | N | N | Y | N | N | N | N | N | 85.3739
36 | C12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.1424 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.89871 | N | N | Y | N | N | N | N | N | 85.3739
37 | D1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.4362 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.8013 | N | N | Y | N | N | N | N | N | 85.0935
38 | D2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.6113 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.79919 | Y | N | Y | N | N | N | N | N | 85.0935
39 | D3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.4044 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.78979 | Y | N | Y | N | N | N | N | N | 85.3739
40 | D4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.3744 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.75394 | Y | N | Y | N | N | N | N | N | 85.3739
41 | D5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.5088 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.75031 | Y | N | Y | N | N | N | N | N | 85.0935
42 | D6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.6702 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.76304 | Y | N | Y | N | N | N | N | N | 85.0935
43 | D7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 17.509 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 13 | Amp |  | 0.75196 | Y | N | Y | N | N | N | N | N | 85.514
44 | D8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 17.6896 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.77093 | Y | N | Y | N | N | N | N | N | 85.3739
45 | D9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 17.6589 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 14 | Amp |  | 0.76836 | Y | N | Y | N | N | N | N | N | 85.3739
46 | D10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.4874 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.83084 | N | N | Y | N | N | N | N | N | 85.3739
47 | D11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.7159 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.84516 | N | N | Y | N | N | N | N | N | 85.3739
48 | D12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.847 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.84223 | N | N | Y | N | N | N | N | N | 85.3739
49 | E1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.9534 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.89863 | N | N | Y | N | N | N | N | N | 84.9533
50 | E2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.8528 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.87763 | N | N | Y | N | N | N | N | N | 84.9533
51 | E3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.8573 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.90064 | N | N | Y | N | N | N | N | N | 85.3739
52 | E4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.5282 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.82335 | N | N | Y | N | N | N | N | N | 85.3739
53 | E5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.5755 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.81539 | N | N | Y | N | N | N | N | N | 85.0935
54 | E6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.5636 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.82151 | N | N | Y | N | N | N | N | N | 85.0935
55 | E7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.419 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.80506 | N | N | Y | N | N | N | N | N | 85.3739
56 | E8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.5785 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.80832 | N | N | Y | N | N | N | N | N | 85.3739
57 | E9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.5931 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.82729 | N | N | Y | N | N | N | N | N | 85.3739
58 | E10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.0877 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.88469 | N | N | Y | N | N | N | N | N | 85.3739
59 | E11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.2488 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.88613 | N | N | Y | N | N | N | N | N | 85.3739
60 | E12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.4768 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.90009 | N | N | Y | N | N | N | N | N | 85.3739
61 | F1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.6371 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 20 | Amp |  | 0.93817 | N | N | Y | N | N | N | N | N | 84.9533
62 | F2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.4861 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | Amp |  | 0.93199 | N | N | Y | N | N | N | N | N | 84.9533
63 | F3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.5095 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | Amp |  | 0.96498 | N | N | Y | N | N | N | N | N | 85.3739
64 | F4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.3851 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.83348 | N | N | Y | N | N | N | N | N | 85.514
65 | F5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.4987 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 17 | Amp |  | 0.80407 | N | N | Y | N | N | N | N | N | 85.0935
66 | F6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.1266 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.66674 | Y | N | Y | N | N | N | N | N | 85.0935
67 | F7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.5148 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.81409 | N | N | Y | N | N | N | N | N | 85.3739
68 | F8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.4501 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.80651 | N | N | Y | N | N | N | N | N | 85.514
69 | F9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.6929 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.82941 | N | N | Y | N | N | N | N | N | 85.3739
70 | F10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.5611 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.86423 | N | N | Y | N | N | N | N | N | 85.3739
71 | F11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.613 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.88316 | N | N | Y | N | N | N | N | N | 85.3739
72 | F12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 20.7169 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.76366 | Y | N | Y | N | N | N | N | N | 85.7944
73 | G1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.478 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 18 | Amp |  | 0.83243 | N | N | Y | N | N | N | N | N | 85.3739
74 | G2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.2253 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | Amp |  | 0.92442 | N | N | Y | N | N | N | N | N | 84.9533
75 | G3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.5563 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 20 | Amp |  | 0.91619 | N | N | Y | N | N | N | N | N | 85.3739
76 | G4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.8775 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.78295 | Y | N | Y | N | N | N | N | N | 85.6542
77 | G5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.9534 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.77708 | Y | N | Y | N | N | N | N | N | 85.0935
78 | G6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.9995 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.78099 | Y | N | Y | N | N | N | N | N | 85.0935
79 | G7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.7978 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.97468 | N | N | Y | N | N | N | N | N | 85.514
80 | G8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.1632 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 24 | Amp |  | 0.96314 | N | N | Y | N | N | N | N | N | 85.9346
81 | G9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.9805 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.97552 | N | N | Y | N | N | N | N | N | 85.514
82 | G10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.6512 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 24 | Amp |  | 0.97301 | N | N | Y | N | N | N | N | N | 85.3739
83 | G11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.7977 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.96946 | N | N | Y | N | N | N | N | N | 85.3739
84 | G12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.9357 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.974 | N | N | Y | N | N | N | N | N | 85.3739
85 | H1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.2678 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 16 | Amp |  | 0.78467 | Y | N | Y | N | N | N | N | N | 85.0935
86 | H2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.2171 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.78119 | Y | N | Y | N | N | N | N | N | 84.9533
87 | H3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 19.1579 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 15 | Amp |  | 0.80018 | N | N | Y | N | N | N | N | N | 85.514
88 | H4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 30.0271 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 26 | Amp |  | 0.96829 | N | N | Y | N | N | N | N | N | 83.4113
89 | H5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 29.7522 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.98086 | N | N | Y | N | N | N | N | N | 83.131
90 | H6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 29.9471 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 26 | Amp |  | 0.98152 | N | N | Y | N | N | N | N | N | 83.2712
91 | H7 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 29.0827 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.99123 | N | N | Y | N | N | N | N | N | 85.3739
92 | H8 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 28.9842 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.99421 | N | N | Y | N | N | N | N | N | 85.514
93 | H9 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 29.5662 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 25 | Amp |  | 0.98491 | N | N | Y | N | N | N | N | N | 85.514
94 | H10 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 34.7541 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 30 | No Amp |  | 0 | Y | N | Y | Y | N | Y | Y | Y | 60.0013
95 | H11 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | Undetermined | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 39 | No Amp |  | 0 | Y | Y | N | N | N | Y | N | N | 60.562
96 | H12 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.7608 | 21.0047 | 4.883 | [7 empty] | TRUE | 0.076834 | TRUE | 3 | 19 | No Amp |  | 0 | Y | N | Y | N | Y | Y | N | N | 84.1122 | 78.7854 | 88.4578 | 91.2614

## table
| 1-3 | 4-6 | 7-9 | 10-12
A | std 1 | FT1 | S3 | T3
B | std 2 | FT4 | S4 | T4
C | std 3 | FT5 | S5 | T5
D | std 4 | FT6 | S6 | T6
E | std 5 | FT7 | S7 | T7
F | std 6 | FT8 | S8 | T8
G | std 7 | FT3 | S1 | T1
H | DC | AD | H2O

## sample analysis tab
| Well Position | CT | average ct | log Copies/ ml | Copies/ ml | qPCR titer |  | Average qPCR titer | qPCR SD
std1 | A1 | 9.2915 | 9.342 | 9.0756 | 1190125555.9384 | 1.0759e+13 | std1 | 1.027e+13 | 919564348925.54
| A2 | 9.4512 |  | 9.0081 | 1018767277.9008 | 9.2097e+12
| A3 | 9.2835 |  | 9.079 | 1199415782.3946 | 1.0843e+13
Sample in AD | A4 | 28.989 | 28.9956 | 0.74931 | 5.6145 | 50755.0888 | Sample in AD | 50440.1978 | 1237.14
| A5 | 29.0235 |  | 0.7347 | 5.4288 | 49076.0427
| A6 | 28.9742 |  | 0.75555 | 5.6957 | 51489.462
std2 | A7 | 18.8692 | 18.9061 | 5.027 | 106422.4859 | 962059272.6127 | std2 | 928907534.6863 | 48104677.7118
| A8 | 18.8811 |  | 5.022 | 105191.3005 | 950929356.3547
| A9 | 18.9681 |  | 4.9852 | 96651.9884 | 873733975.0914 | [8 empty] | A1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 6.9879
Sample in H2O | A10 | 22.6844 | 22.7574 | 3.4143 | 2595.9791 | 23467651.4681 | Sample in H2O | 21897049.1006 | 1598938.4535 | [5 empty] | A2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 6.9912
| A11 | 22.6956 |  | 3.4096 | 2567.9195 | 23213992.6248 | [8 empty] | A3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 6.9421
| A12 | 22.8193 |  | 3.3573 | 2276.5604 | 20580105.5764 | [8 empty] | A4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.8048
std3 | B1 | 11.5376 | 11.3806 | 8.1261 | 133696775.8029 | 1.2086e+12 | std3 | 1.4254e+12 | 216084795630.4414 | [5 empty] | A5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.9437
| B2 | 11.2236 |  | 8.2589 | 181502282.2489 | 1.6408e+12 | [8 empty] | A6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.0254
| B3 | 11.367 |  | 8.1982 | 157848478.3544 | 1.427e+12 | [8 empty] | B1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 10.0607
H2O | B4 | 19.253 | 19.3365 | 4.8648 | 73244.3239 | 662128687.7823 | H2O | 611856923.912 | 50570616.6613 | [5 empty] | B2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 9.4312
| B5 | 19.3331 |  | 4.8309 | 67748.83 | 612449422.9505 | [8 empty] | B3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 9.3762
| B6 | 19.4233 |  | 4.7928 | 62056.7103 | 560992661.0032 | [8 empty] | B4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.0946
std4 | B7 | 17.9586 | 18.0631 | 5.4119 | 258178.1068 | 2333930085.72 | std4 | 2137821572.5261 | 418199427.0673 | [5 empty] | B5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.6231
| B8 | 17.9206 |  | 5.428 | 267912.3982 | 2421928079.3378 | [8 empty] | B6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 22.6403
| B9 | 18.3102 |  | 5.2633 | 183363.5567 | 1657606552.5206 | [8 empty] | C1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 11.9497
std5 | B10 | 21.3604 | 21.65 | 3.974 | 9418.5626 | 85143806.262 | std5 | 67423358.5253 | 23531648.0597 | [5 empty] | C2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 11.9139
| B11 | 21.4717 |  | 3.9269 | 8451.5569 | 76402074.0709 | [8 empty] | C3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 11.9849
| B12 | 22.1181 |  | 3.6537 | 4504.8889 | 40724195.2429 | [8 empty] | C4 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 30.9802
std6 | C1 | 13.6541 | 14.3474 | 7.2315 | 17040208.0661 | 154043480917.2698 | std6 | 88679278632.2486 | 56618447036.2346 | [5 empty] | C5 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 30.817
| C2 | 14.7148 |  | 6.7831 | 6068770.6432 | 54861686614.8176 | [8 empty] | C6 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 31.1593
| C3 | 14.6731 |  | 6.8007 | 6319985.4386 | 57132668364.6585 | [8 empty] | D1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 14.0619
std7 | C4 | 19.2062 | 19.2103 | 4.8845 | 76655.3407 | 692964279.6613 | std7 | 690281938.1445 | 12192210.6369 | [5 empty] | D2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 14.0694
| C5 | 19.1945 |  | 4.8895 | 77534.2516 | 700909634.6342 | [8 empty] | D3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 14.1657
| C6 | 19.2302 |  | 4.8744 | 74886.2721 | 676971900.1378 | [8 empty] | E1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 16.5347
std8 | C7 | 18.3444 | 18.3462 | [11 empty] | E2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 16.4954
| C8 | 18.2171 | [12 empty] | E3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 16.6556
| C9 | 18.4772 | [12 empty] | F1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.7825
| C10 | 21.6839 | [12 empty] | F2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.9592
| C11 | 21.925 | [12 empty] | F3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 18.9338
| C12 | 22.1424 | [12 empty] | G1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.412
| D1 | 18.4362 | [12 empty] | G2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.3313
| D2 | 18.6113 | [12 empty] | G3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 21.2493
| D3 | 18.4044 | [12 empty] | H1 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.7875
| D4 | 18.3744 | [12 empty] | H2 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.634
| D5 | 18.5088 | [12 empty] | H3 | FALSE | Sample 1 | Target 1 | UNKNOWN | SYBR | None | 23.7407
| D6 | 18.6702
| D7 | 17.509
| D8 | 17.6896
| D9 | 17.6589
| D10 | 20.4874
| D11 | 20.7159
| D12 | 20.847
| E1 | 21.9534
| E2 | 21.8528
| E3 | 21.8573
| E4 | 20.5282
| E5 | 20.5755
| E6 | 20.5636
| E7 | 19.419
| E8 | 19.5785
| E9 | 19.5931 | [7 empty] | Copies/ ml | Ct |  | slope | -2.3657
| E10 | 22.0877 | [6 empty] | 17500000 | 10 | 6.9738 |  | intercept | 30.7616
| E11 | 22.2488 | [6 empty] | 3500000 | 9 | 9.6227 |  | r2 | 0.9996
| E12 | 22.4768 | [6 empty] | 700000 | 8 | 11.9318
| F1 | 23.6371 | [6 empty] | 140000 | 7 | 14.099
| F2 | 23.4861 | [6 empty] | 28000 | 6 | 16.5619
| F3 | 23.5095 | [6 empty] | 5600 | 5 | 18.8918
| F4 | 20.3851 | [6 empty] | 1120 | 4 | 21.3309
| F5 | 20.4987 | [6 empty] | 224 |  | 23.7207
| F6 | 20.1266 | [6 empty] | three negative controls | sample in AD | 22.9247
| F7 | 19.5148 | [7 empty] | sample in H2O | 22.4527
| F8 | 19.4501 | [7 empty] | H2O | 30.9855
| F9 | 19.6929
| F10 | 21.5611
| F11 | 21.613 | [7 empty] | Sample in AD | 3406588.5545 | 260182.5402
| F12 | 20.7169 | [7 empty] | Sample in H2O | 4148402.944 | 1054200.2987
| G1 | 22.478 | [7 empty] | H2O | 14338.1665 | 1659.5891
| G2 | 23.2253
| G3 | 23.5563
| G4 | 18.8775
| G5 | 18.9534
| G6 | 18.9995
| G7 | 28.7978
| G8 | 28.1632
| G9 | 28.9805
| G10 | 28.6512
| G11 | 28.7977
| G12 | 28.9357
| H1 | 19.2678
| H2 | 19.2171
| H3 | 19.1579
| H4 | 30.0271
| H5 | 29.7522
| H6 | 29.9471
| H7 | 29.0827
| H8 | 28.9842
| H9 | 29.5662
| H10 | 34.7541
| H11 | Undetermined
| H12 | 21.7608

## sample loading table tab
[6 empty] | 1-3 | 4-6 | 7-9 | 10-12
[5 empty] | A | std 1 | 1-1
[5 empty] | B | std 2 | 1-2
[5 empty] | C | std 3 | 1-3
[5 empty] | D | std 4 | 1-4
[5 empty] | E | std 5 | 7-1
[5 empty] | F | std 6 | 7-2
[5 empty] | G | std 7 | 7-3
[5 empty] | H | DC | 7-4
|  |  | plate x1 | [5 empty] | plate x1
# of samples | 96 | GFP
| Per well | 150 | FT1 | FT4 | FT5 | FT6 | FT7 | FT8 | FT3 | DC
SYBR | 12.5 | 2062.5 | S3 | S4 | S5 | S6 | S7 | S8 | S1
Water | 1.25 | 206.25 | T3 | T4 | T5 | T6 | T7 | T8 | T1
F/ R Primer | 0.625 | 103.125
Sample | 10
for each well:
15 ul mix
Notes